## Slide 1: Multi- axis control for in-vacuum diffractometer
for SIRIUS Beamline at Synchrotron SOLEIL
Christer Engblom, on behalf of the ECA group & SYMETRIE Company

## Slide 2: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
In-vacuum diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 3: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
In-vacuum diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 4: Introduction – Context & overview
Joint funding project (2 years),
  SIRIUS beamline (Synchrotron Soleil)
  FemtoMAX beamline (MAXIV)
  Complementarily funded by an Ile-de-France region project (DIM Oxymore) [1]
In- vacuum diffractometer, produced by SYMETRIE
  4-circle goniometer
  Hexapod implementations
    Sample alignment
    System X-ray beam- alignment
[1] The Ile de France region (project,DIM-Oxymore)

## Slide 5: Introduction – SIRIUS beamline & SYMETRIE
SIRIUS: Soft Interfaces and Resonant Investigation on Undulator Source
  Energy range. 1.4-13 keV
  Structural studies of soft interfaces (ex. Biological systems, polymers, etc.)
  Semiconductor or magnetic nanostructures
SYMETRIE: specializing in high-precision hexapod systems
  Delta Tau PowerPMAC controllers for multi- axial, synchronous control

## Slide 6: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
In-vacuum diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 7: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
In-vacuum diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 8: In- vacuum diffractometer - Setup
Series of Stacked systems:
  Large hexapod, JORAN
  4-circle goniometer
  Small hexapod, BORA

## Slide 9: In- vacuum diffractometer – Axis Setup
Sample alignment
6 DOF
Circular sample- & detector movements
4 DOF
System X-ray beam alignment
6 DOF
Series of Stacked systems:
  Large hexapod, JORAN
  4-circle goniometer
  Small hexapod, BORA

## Slide 10: In- vacuum diffractometer – Axis Setup
Sample alignment
6 DOF
Circular sample- & detector movements
5 DOF
System X-ray beam alignment
6 DOF
Series of Stacked systems:
  Large hexapod, JORAN
  4-circle goniometer
  Small hexapod, BORA
Circular sample- & detector movements

## Slide 11: In- vacuum diffractometer - Hardware Setup
Control
  Delta Tau PowerBrick
Motor Drive
  Delta Tau Powerbrick
  Phytron
Temperature handling
  PLC solution

## Slide 12: In- vacuum diffractometer– TANGO devices
Rough overview:
PowerPMACBox Powerbrick commands & attributes
  PowerPMACAxis Single- axis movement commands & attributes
  PowerPMACComposedAxis Multi- axis movement commands & attributes
PowerPMACdataviewer Controller variable exchange

## Slide 13: In- vacuum diffractometer – Controller embedded software
System integration with pre-compiled libraries
  Intellectual properties
  System evolutions
SOLEIL libraries (for TANGO interfacing)
SYMETRIE libraries & motor configurations
    Ex: Hexapod kinematics

## Slide 14: In- vacuum diffractometer - Control/Drive Setup
JORAN/circles controllers synchronized via MACRO interface
  Virtual axis calculations (kinematics) performed by master controller
BORA controller
  Virtual axis calculations (kinematics)

## Slide 15: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
In-vacuum diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 16: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
Diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 17: Installation - FAT
End of april 2017- performed at SYMETRIE site
System evaluated concerning:
  Single- axis movements (via low-level- and TANGO)
  Multi- axial movements (via low-level- and TANGO)
  Scans
  Temperature- measurements
  System security (ex: encoder failure, limit switches...)
  Sphere-of-confusion at sample
  Vacuum- tests
  ...

## Slide 18: Installation - SAT
Beginning of june 2017 – SIRIUS beamline, SOLEIL
Successfully installed into the beamline
Installed & interfaced PLC system against over-temperature
Improved accuracy by implementing compensation tables into Delta Tau controllers (reduce cross- coupling errors)

## Slide 19: Installation - SAT

## Slide 20: Installation - SAT

## Slide 21: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
Diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 22: Contents
Introduction
  Context & overview
  SIRIUS beamline & SYMETRIE
Diffractometer
  Axis Setup
  Hardware setup
  TANGO devices
  Controller embedded software
  Control/Drive Setup
Installation
  FAT
  SAT
Conclusion

## Slide 23: Conclusion
Diffractometer installation proved successful
  Mechanical integration in beamline
  Beamline TANGO control via Delta Tau controllers: synchronized movements, single- axis movements, etc.
  PLC integration
Verified: Delta Tau software architecture controller well adapted for collaborations while still respecting intellectual properties.
Commissioning with beam in end-of-this-year
Smaller sphere-of-confusion with compensation tables on BORA platform