## Slide 1: Metrology in High-precision Systems

## Slide 2
- Mostly “off the shelf” metrology solutions are used
“Precision, Dynamics & Mechatronics Team” within the Mechanical Engineering Group of the Instrumentation Division
A laboratory (Precision Engineering Lab) dedicated to Performance Checks on mechanical instruments - dedicated human resources and equipment.
      Typically: Commissioning / Acceptance of instrumentation received from subcontractors
An engineer developing advanced solution for online metrology – optical based systems.
      Ex: Interferometer based systems

## Slide 3
Nanoprobe Prototype (ICALEPCS 2017, WEAPL04)
Metrology in Sample Stage 2D-scans & rotation

## Slide 4
Stacked design
  1 (X): flyscan
  2-4 (Y, Z, Rz): stepscans
  5 (x,y): sample alignment
  6: Sample holder + interferometry reflector (sample tracking)
Sample Stage Setup

## Slide 5
Control Cascaded
Compensation Tables (feedforward)  Need repeatable errore
Interferometry feedback control
Sample Stage Control Setup

## Slide 6
Trajectory errors during 1x1 µm 2D-scan
Encoder feedback, no feedforward, no interferometer feedback

## Slide 7
Trajectory errors during 1x1 µm 2D-scan
Encoder feedback, XY-feedforward, no interferometer feedback

## Slide 8
Trajectory errors during 1x1 µm 2D-scan
Encoder feedback, XY-feedforward, XY-interferometer feedback

## Slide 9
Trajectory errors during 360° sample rotation scan
Encoder feedback, no feedforward, no interferometer feedback

## Slide 10
Trajectory errors during 360° sample rotation scan
Encoder feedback, XY-feedforward, no interferometer feedback

## Slide 11
Trajectory errors during 360° sample rotation scan
Encoder feedback, XY-feedforward, XY-interferometer feedback

## Slide 12
Sample Stage Results