## Slide 1: Iranian Light Source Facility.

## Slide 2
LINAC
0 to 150 MeV
BOOSTER
150 MeV to 3 GeV
Duration: 250 mSec
Frequency: 2 Hz
STORAGE RING
3 GeV
Circumference: 528 m
Current: 400 mA
RF frequency: 100 MHz
BEAMLINES
7 main beamlines
Emittance: 0.27 nm.Rad

## Slide 3: ILSF Groups:
Vacuum 4
Power Supply 3
RF 4
Detector 3
Magnets 4
Beam lines 4
Science 3
Science 3
Mechanics 5
Control 5
Beam Dynamics 5
Building 4
Total number ≈ 50
Diagnostic 1

## Slide 4: Motion Control experiences in ILSF
Min gap | 15 mm
Max gap | 35 mm
Resolution | 1
Period | 48 mm
Number of period | 10
Min gap | 15 mm
Max gap | 35 mm
Resolution | 
Period | 48 mm
Number of period | 10
Undulator specifications
Undulator

## Slide 5: Motion Control experiences in ILSF
Beam Position Monitoring tool (BPM)

## Slide 6: Motion Control experiences in ILSF
X movement | 2000
Y movement | 500
Z movement | 300
Resolution | 1
relative accuracy | 
X movement | 
Y movement | 
Z movement | 
Resolution | 
relative accuracy | 
Hall Probe
Hall probe specifications

## Slide 7: Thanks for your Attention