## Slide 1: Australian Synchrotron Next Generation Motion Controller Selection Information Gathering and Results
Survey Lead – Pier Valitutti
Presented by – Nader Afshar

## Slide 2: Overview
Rational for considering a new controller
Why we conducted a facility survey
What we learned
Where we are going from here

## Slide 3: Why a next generation controller?
The Australian Synchrotron is > 12 years old
  existing motion control solutions are outdated
Currently using a wide range of controller types
  difficult to support and maintain, requires large spares inventory
8 new beamlines coming over the next 5 years
  new and advanced motion control capabilities are required
Time to plan for the future
  develop a single, standard, state-of-the-art controller solution
  solution will remain viable for the 10+ year beamline lifetime
  can be used for at least 80% of beamline applications
  simplifies training, maintenance and spares inventory
Notes: AS is expanding. Standardization process has not been fully enforced and review/upgrading of the existing systems is due. But we are flexible… not that big.

## Slide 4: Why a Facility Survey?
First step in preparing for the future is to learn from the past!
Learn from as much experience as possible
Increase our experience base through a synchrotron survey -
  Develop and distribute a standard questionnaire
  Follow up with one-on-one interviews to learn
    - solutions currently in use for simple and complex motion
    - rationale for the choice of these solutions
    - pros and cons of these solutions
    - plans and constraints for future development
    - any other advice for us based on past experience
Notes: Collective wisdom. Too much experience or too much opinion

## Slide 5: Who was involved?
Our beamline scientists and support staff
8 international similar facilities
    ( ESS, DESY, SOLEIL, NSLS-II, DLS, LNLS, APS, PSI)
All 8 facilities agreed to follow-up interviews
  all discussions were open and honest
  provided experience-based information we needed
  greatly influenced our selection process
Contributors and details of their contributions must remain anonymous to protect confidentiality
General results and trends can be shared

## Slide 6: What were the results?
Motion control solutions has a broad spectrum
  From standard commercial solutions (off-the-shelve)
  To in-house hardware solutions
Solutions are often dictated by non-technical considerations
  History, on-site skills, externally dictated, etc.
Simple, open-loop stepper motor applications are most common
  Controllers must still support closed-loop, DC and BLDC applications
Many facilities are looking to the future for new solutions:
  Some upgrading existing solutions (ie. PMAC -> PowerPMAC)
  EtherCAT based controllers appear to be a new trend

## Slide 7: What advice did we get?
Limit the number of different controller types in use
Do not change what is already working!
Try to enforce standardisation as much as possible
19” rack mount controllers are preferred
Provide for two controller options
  A basic “workhorse” for simple applications
  An advanced, fully featured unit for more complex applications
Gather most advanced requirements, select against these

## Slide 8: Where does that leave us?
Given the lack of a common solution we decided to use a “green field” approach to select one:
  Review science cases to determine the motion control capabilities required by new beamlines
  Derive specifications for a generic “black box” controller that would provide these capabilities and build on past experience
  Generate a public Request for Information to elicit proposals from as many suppliers as possible for solutions to meet these specifications
  Evaluate the responses using standard metrics
  Select (we hope) the solution that best meets our needs

## Slide 9: Conclusion… and the road ahead
We were seeking a modern motion control solution, which we could adopt and own in collaboration with other facilities.
Now we think we need to standardise on a new solution to meet our requirements:
  User commissionable and lean maintenance for basic applications, powerful and flexible enough for advanced motion systems applications
We are calling out for collaborators, any facility that is considering new control solutions
We are looking for experienced controls engineers to help implement this solution on the new beamlines

## Slide 10
Thank You for Your Attention